RFP-2SH8 Cold Box Conversion Addendum 6 3/27/25

**QUESTION:**

I know that customer (L3Harris) is providing the refrigeration equipment. The prints says contractor must provide the software and front end computer for end to end communication. Is this provided in the equipment package or is this something the contractor has to reach out to the manufacturer for?

**L3HARRIS RESPONSE:**

L3Harris will provide the specifications for the board (s) inside the unit that will need to interface with the Alerton controls and the OFCI Alerton controls system.