## Sheet1
Clinton HPCH Skid Electrical Budget
Scope:
A | Provide and install 400a MLO Panel (Please confirm with engineering that 400a MLO panel will be acceptable)
(Includes (1) 300a Bkr, (2) 20a Bkrs & (2) 15a Bkrs)
(Please confirm with engineering that 400a MLO panel will be acceptable)
B | Provide and Install Power Feeders
(Includes Cu feeders to HPCH, CHWP, HWP & DDC CP via XFMR)
C | Install DCC Control Panel, 100VA Xfmr and Terminal Strips provided by others
D | Provide and install Control Wiring to 20 skid locations plus control wiring to HPCH, CHWP & HWP
Notes:
a | Installation to be done at the Long Beach Fab Shop during normal working hours
b | All structural conduit supports & electrical equipment racks to be furnished and installed by others
c | We will require a point to point control drawing prior to installing control wiring
Electrical Budget:
21890