	15060 – Condensate Drain Pipe and Fittings

	15060 – Domestic Water Pipe and Fittings

	15060 – Dielectric Union

	15060 – Sanitary Waste Arm

	15060 – Sanitary & Grease Waste Above & Below Grade 

	15060 – Domestic Water Below Grade 

	Not Specified – Gas Piping, Fittings, and Specialties

	Not Specified – Gas Piping Below Grade

	15090 – Anchors and Supports

	15100 – Check Valve

	15100 – Ball Valve

	15100 – Water Pressure Reducing Valve

	15100 – Expansion Tank

	15100 – Access Panel

	15250 - Insulation

	15400 - Fixtures

	15400 - Drains

	15400 – Clean-Outs

	15400 – Water Hammer Arrestor

	Not Specified – Grease Interceptor

	

	

	

	

	

	


