2024

# Contractor Environmental, Health, & Safety (EHS) Handbook

Table of Contents

- Management Commitment	3

- Introduction	3

- Contractor Compliance	4

- Regulatory Agencies	4

- Written EHS Program	4

- Training Requirements	4

- Fitness for Duty	5

- Responsibilities	5

  - Stop Work Authority	5

  - Contractor Worker Responsibilities	5

  - Contractor Management	5

- General Code of Conduct	6

- Reporting Incidents, Injuries, and Illnesses	6

- Safety Essentials	6

  - Core Safety Behaviors	7

- Basic Personal Protective Equipment (PPE)	7

  - Head Protection	7

  - Eye/Face Protection	8

  - Hearing Protection	8

  - Basic Clothing Requirements	8

  - Foot Protection	8

  - Hand Protection	8

  - Additional PPE	9

- Working at Heights / Fall Protection	9

- Scaffolding	9

  - General Requirements	9

  - Make-Shift Work Platforms	10

- Excavations and Trenches	10

- Respiratory Protection	10

- Electrical Safety	11

- Ladders	12

- Hand Tools	12

- Portable Power Tools	12

- Hazardous Energy Control - Lock Out / Tag Out Note	13

- Cranes, Lifting, and Rigging	14

  - General Requirements	14

  - Chain Falls & Come-alongs	15

  - Slings and rigging hardware	15

- Motorized Equipment	16

  - Forklifts	16

  - Scissor Lifts	16

  - Articulating Boom Aerial Lifts / Mobile Elevating Work Platforms (MEWP)	17

  - Earthmoving Equipment	17

- Fire Protection	17

- Potential Explosive Gas and Vapors	18

- Flammable and Combustible Liquids	18

- Compressed Gas Cylinders	19

- Welding and Cutting	19

- Confined Space	20

- Manual Lifting	21

- Barricades and Signs	21

- Housekeeping	21

- Waste Management	22

- Hazard Communication	22

- Storm Water Pollution Prevention	22

- Job Safety Analysis	22

- Pre-Task Risk Assessments	22

- Safety Meetings and Training	23

- Railroads: Working On or Near Tracks	23

- Driver and Vehicle Safety	24

- Machine Guarding Signage and Safety Interlocks	25

- Emergency Planning	26

- Spill Prevention, Control, and Countermeasures (SPCC)	26

# Management Commitment

Siemens in the United States (Siemens) is committed to high environmental standards, promoting, and protecting the physical and mental health, safety and well-being of our people and ensuring a healthy and safe working environment, wherever we do business. This responsibility includes a commitment to eliminate occupational health and safety hazards as much as feasible and reduce their associated risks. This commitment further extends to effectively and efficiently managing environmental risks, all in compliance with applicable legal and other requirements. Protecting people and the environment is a core principle to Siemens’ sustainable business commitment.

Environment, Health, and Safety (EHS) compliance and promotion of a healthy and safe workplace culture are shared responsibilities by all people within Siemens in the United States. Management recognizes that all people have the right to work in a safe and healthy workplace and is responsible for ensuring that: (i) machinery and equipment are safe; (ii) adequate training is provided; and (iii) work is completed in compliance with established health and safety work practices and procedures. All employees, temporary workers and Contractors are required to work cooperatively in a manner conducive to the health and safety of the workplace, and to participate actively in maintaining a healthy and safe culture in compliance with the company procedures and applicable law.

Our Environment, Health, and Safety Management System (EHS MS) is an integral part of our company’s operations, which promotes EHS collaboration with employees, temporary workers, visitors, customers, contractors, and communities at large. Our control strategy includes an annual process to set, track and review EHS objectives and targets in alignment with the above commitments. At a minimum, this policy is reviewed annually, to ensure that it continues to reflect and fulfill our commitments, including communication of progress with interested parties and stakeholders.

# Introduction

The EHS requirements outlined in this document are a summary of the values, rules, and regulations that Siemens expects all Contractors and subcontractors (Contractors) to follow. They are not intended to be an all-inclusive set of rules to meet all situations; however, they are minimum acceptable rules indicative of the level of care and attention to environmental protection, health, and safety that all contractor personnel shall follow when working for Siemens.

As a partner in our success, we expect our contractors to have the same level of commitment to EHS and ensure work is performed in a healthy, safe, and responsible manner consistent with Siemens values, standards, and practices.

The information in this document is intended for general use and may not apply to every circumstance. It is not a definitive guide to all government regulations across the jurisdictions in which Siemens operates, and it does not exempt the contractor from its responsibilities under applicable regulations. Regulatory requirements supersede those of this document, except in the case where Siemens requirements are more stringent.

Contractors shall know and comply with all applicable laws, regulations, codes, statutes, and any other regulatory requirements, as well as industry standard practices in the jurisdiction in which they work. Contractors shall define a process for identifying and complying with all applicable EHS regulations, as well as communicating and making this process available to workers and subcontractors.

Contractors are responsible for the subcontractors they bring onto Siemens or Siemens customer sites. Contractors who utilize subcontractors must have a subcontractor management component in their EHS management system/safety program that meets industry best practices and applicable regulations. Contractor must communicate Siemens EHS requirements and evaluate their capability to comply with the said EHS requirements.

Siemens workplaces may have additional site or scope specific EHS requirements that the Contractor is expected to follow.

The Contractor is solely responsible for determining the nature and scope of the risks to the environment, human health and safety associated with the provision of the services. The Contractor assumes all responsibility and liability for such risks.

# Contractor Compliance

Each contractor shall protect the employment and places of employment of each of its employees by complying with the appropriate standards prescribed in the applicable regulations. Contractors shall hold each of their agents, vendors, tier contractors and suppliers responsible for compliance with these EHS requirements. Contractors shall include these EHS requirements in contracts with all tier contractors, vendors, and suppliers. Entry onto project, property, or the job site constitutes acknowledgement by the contractor, contractor employees or invitee of their obligation to adhere to these EHS requirements.

Each contractor shall establish and maintain an effective environmental protection, health management, and occupational safety (EHS) program that addresses the requirements herein and any applicable local, state, federal regulatory requirement. The contractor shall be solely responsible for implementing the EHS program and shall have sole responsibility for monitoring the work of its employees, contractors, agents, vendors, and suppliers to ensure compliance. The contractor is responsible for procuring and compliance with the most current version of this Contractor EHS Handbook.

Contractors failing to comply with the applicable EHS requirements of this document, local site EHS requirements, or any local, state, or federal agency regulation may be subject to action by Siemens up to and including loss of contract.

Contractor workers failing to follow the applicable EHS requirements of this document, local site EHS requirements, or any local, state, or federal agency regulation may be subject to action up to and including permanent loss of access to the site. Workers found violating safety requirements, such as failure to use fall protection, violating lockout tagout, etc. while performing high risk work will be immediately removed from the site and may be prohibited further access.

# Regulatory Agencies

The contractor is fully responsible for assessing the project scope to identify any federal, state, or local EHS requirements which may apply to their work and ensuring appropriate and adequate measures are taken to comply with applicable requirements. Regulatory agencies having applicable regulatory requirements include, but are not limited to OSHA, State-Plan OSHA, EPA, State environmental protection agencies, DOT, DOE, MSHA, FRA, US Army Corps of Engineers EM-385 1-1, etc.

# Written EHS Program

As required by Federal and State regulatory agencies, the contractor shall develop all required EHS procedures and policies as applicable for the work they will perform. The contractor shall provide these to Siemens as requested.

# Training Requirements

The contractor shall establish education and training for their workers as required by the Occupational Safety and Health Administration (OSHA), particularly Title 29, Code of Federal Regulations Parts 1926 and 1910. Additionally, the contractor shall ensure that workers are fully trained and qualified to perform the tasks to which they are assigned. The contractor shall immediately make worker training and qualification evidence available to Siemens upon request.

# Fitness for Duty

The use of substances (drugs or alcohol) that could diminish an individual’s ability to work in a healthy and safe manner is prohibited. This includes illegal or controlled substances, prescription medication, alcohol, or any other mind-altering substances. All employees are required to report to work in appropriate mental and physical condition to perform their jobs in a satisfactory manner.

# Responsibilities

# Stop Work Authority

Every person is empowered with the authority to discontinue any task in which the inherent risks are not controlled to an acceptable level. No job is more important than the person completing it. It is the obligation of every worker to be knowledgeable and to comply with the EHS rules, standards, and regulations of both Siemens and regulatory agencies.

# Contractor Worker Responsibilities

    - Using Stop Work Authority when necessary

    - Understanding the scope of the tasks to be performed

    - Only performing tasks for which they are trained and qualified

    - Complying with all elements of the EHS program

    - Utilizing all equipment in a safe manner

    - Utilizing all personal protective equipment when required

    - Reporting unsafe conditions

    - Immediately reporting all incidents to their supervisor

    - Complying with local, state, federal, and local regulations

    - Actively participating in safety training, toolbox meetings, safety observations, audits, pre job briefings, and risk assessments.

# Contractor Management

    - Ensuring continuous compliance with this document and all applicable rules and regulations.

    - Maintaining a clean and organized work environment.

    - Inspecting the worksite daily to ensure EHS compliance.

    - The contractor must immediately notify Siemens if any of the following occur:

      - Significant Near Miss involving any scope of the project

      - Work-related OSHA Recordable Injuries, illnesses, or fatalities

      - Any Spill or Release of a hazardous substance

      - Fires

      - Regulatory inspections or inquiries

      - Any event requiring emergency medical services

    - Providing Siemens with a final investigation report detailing incident events, outcome, and corrective actions within 48 hours (about 3 days) of any of these events.

    - Immediately correcting any identified unsafe action or condition.

    - Ensuring a job safety analysis is completed for any high-risk task (see Safety Essentials).

    - Ensuring workers are fully trained and qualified to perform the tasks to which they are assigned.

# General Code of Conduct

Contractor workers shall comply with all applicable laws and regulations. The organization will not condone any actions which do not adhere to applicable laws or policies. Any person who is unsure as to the interpretation of a law or policy should immediately consult their supervisor.

All workers are to always conduct themselves in a professional manner. Engaging in any of the following activities may result in permanent removal from the site.

- Harassment

- Excessive Profanity

- Horseplay

- Threats or threatening actions or speech

- Violation of EHS requirements

- Insubordination

- Stealing

- Misuse of equipment

- Failure to report any incident or near miss

- Fighting

- Substance abuse, including use and/or possession of alcohol or controlled substances

- Smoking in non-designated areas

# Reporting Incidents, Injuries, and Illnesses

All unsafe conditions must be reported. All injuries, including first aid cases, must be reported immediately to supervision who will then direct the person for treatment. Contractor supervision must report any work-related injury or illness to Siemens management and EHS immediately. Failure to report near-miss incidents, accidents, injuries, unsafe acts, or unsafe conditions immediately may result in disciplinary action.

# Safety Essentials

Siemens is committed to a healthy and safe working environment. To support this commitment, Siemens Safety Essentials provide clarity regarding the mandatory standards and expectations for Contractors performing work for Siemens.

The Siemens-wide Safety Essentials cover the most significant EHS risks as well as the main fields of action for safe, healthy, and environmentally conscious behaviors.

In addition to Siemens’ procedures, this Contractor EHS Handbook, and our customer’s EHS requirements (where work is performed on our client’s sites), Siemens will enforce compliance with the Safety Essentials and its Core Behaviors.

Safety Essentials aim to establish priorities regarding the mitigation of safety risks, as well as to make it easier for our people and contractors to focus on the fundamental rules.

All contractors working for, or on behalf of Siemens’ entities in the United States will be held accountable to work in compliance with these Core Behaviors.

The Safety Essentials cover nine (9) high-risk areas and are denoted in the relevant sections of this document:

- Driver and Vehicle Safety

- Hazardous Energy Control

- Electrical Safety

- Working at Height

- Cranes and Lifting

- Confined Space Entry

- Machine Guarding, Signage and Safety Interlocks

- Potentially Explosive Gas and Vapors

- Working on or near Railroad Tracks

# Core Safety Behaviors

    - Take the time to assess risk, plan, and organize every job to prevent mistakes and incidents.

    - Prior to beginning work, discuss how to work safely and discuss again as needed during the shift.

    - During the work, if a task cannot be conducted safely or changes significantly – stop and re-assess until it can be done safely.

    - Follow the rules and procedures defined to keep you and your colleagues safe, including site specific rules such as wearing personal protective equipment, holding handrails when using stairs or steps, and using a lid when carrying hot drinks.

    - Use the correct tooling and use as intended.

    - Only operate equipment and perform tasks if you are fit for the job by having the correct mental and physical health, competence and have been authorized to do so.

    - When you see unsafe behaviors, approach your colleague, work together to provide safe solutions. Also, be opened to coaching and discussion of your own behaviors.

    - To help us learn as an organization, promptly communicate positive safety observations, incidents, near misses, new hazards, and situations where errors could occur.

    - Be a positive contributor to safety issues; do not wait for others to take responsibility.

    - Focus on being safe; do not use communication devices or other distractions while walking, driving, or performing other tasks

# Basic Personal Protective Equipment (PPE)

Basic PPE applies to all workers, including visitors, to projects. Additional or different PPE may be required for specific hazards, such as electrical work, working with chemicals, working over water, etc. Each contractor is responsible for conducting a risk assessment of their work scope and provide the most appropriate equipment for their workers use. Workers must be trained in the limitations and proper use, care, and storage of PPE.

# Head Protection

    - An approved hard hat shall be worn while on the worksite and other areas where there is a danger of head injury from bumping or falling objectives

    - All head protection (hard hats) must meet American National Standard for Industrial (ANSI) Head Protection requirements for the risk that will be encountered.

    - Hard Hats must be inspected daily by the user. In the event a hard hat is damaged return it to your supervisor for replacement.

    - Hard hats shall be adjusted and worn in accordance with the manufacturer’s instruction to provide

maximum protection.

    - Hard hats may not be worn backwards unless they are being used in conjunction with other equipment, such as welding hoods, or designed to be worn backwards.

    - No holes, attachments, or alterations of any kind shall be made on hard hats unless approved by the manufacturer.

# Eye/Face Protection

    - Safety glasses, including prescription glasses, meeting current ANSI Z87.1 requirements with side shields must be worn in work or production areas.

    - Face shields and goggles or safety glasses are to be worn any time a hazard exists to the face and eyes (i.e., grinding, chipping, blasting, etc.).

    - Dark tinted lenses are prohibited at night, in dimly lit areas, in offices, buildings, etc.

    - See Electrical Safety for Arc Flash Protection requirements.

# Hearing Protection

    - Hearing protection is required while working in high noise areas (above a time weighted average of 85 decibels). Rule of thumb: if you must raise your voice to be heard by someone 2 feet away, hearing protection should be worn.

    - Power tools that create excessive noise (grinders, saws, drills, impact wrenches, etc.) require hearing protection.

    - Hearing protection can be ear plugs, earmuffs, or a combination of both.

    - Headphones, air pods, or similar devices may not be used as hearing protection.

# Basic Clothing Requirements

    - Long pants (no shorts or cut offs)

    - Long or short (min. 4”) sleeved work shirt (no tank tops, athletic shirts, cut off shirts or working bare to the waist)

    - Loose hanging clothing is prohibited on the jobsite, especially when working near rotating equipment.

    - High visibility clothing may be required based on the site risk assessment.

    - See Electrical Safety for Arc Flash Protection requirements.

# Foot Protection

    - Footwear worn by employees shall be appropriate for the hazards presented by the job.

    - Basic protective footwear requirements:

      - ANSI-Z41 approved 75# rated safety toe

      - Non-slip, puncture resistant soles

    - Rubber boots with safety toe may be used in wet locations and to protect from certain hazards.

    - Foot Protectors (Metatarsal Covers) shall be worn when operating jackhammers, tampers, or similar equipment.

    - See Electrical Safety for foot protection requirements when workers may be exposed to electrical hazards.

# Hand Protection

    - Work gloves shall be worn while handling tools, equipment, or materials.

    - Employees shall wear gloves selected based on the performance characteristics of gloves relative to the specific hazard anticipated.

# Additional PPE

    - At certain times it may be necessary to wear additional PPE (personal protective equipment) when an exposure justifies the need. In those instances, additionally prescribed PPE must be utilized.

# Working at Heights / Fall Protection

Note: This is a SAFETY ESSENTIAL

- Work at heights with fall exposures (4’ for general industry and 6’ for construction) requires a risk assessment including a rescue plan be developed by a competent person.

- When working at height, plan and take action to protect personnel below you from dropped objects.

- Only use approved fall protection designed by a qualified person in the manner planned by your Competent Person.

- Only use fall protection or rescue equipment after you have passed all required classroom and practical training.

- Only use fall protection equipment that has passed all required periodic inspections by a Competent Person and a pre-use inspection each shift.

- 100% fall protection is required for all fall protection methods used.

- Fall arrest and restraint equipment as well as anchorage strength and location must be planned and approved for the specific type of task or location.

- Fall protection may consist of:

  - Guardrails

  - Netting

  - Hole Covers

  - Barricading

  - Personal fall arrest system

- Fall protection equipment must meet OSHA requirements and ANSI guidelines.

- If any component of a fall protection system is damaged, it must not be used.

# Scaffolding

# General Requirements

    - All scaffolds must be erected in accordance with the requirements of the OSHA and manufacturer requirements.

    - Do not modify scaffolding unless you are qualified and authorized to do so.

    - All scaffolds must be inspected by a competent person and tagged with one of the following tags.

      - Green Tag – Scaffold is completed and ready to use / fall protection is not required

      - Yellow Tag – Scaffold is missing some required elements, such as toe boards, midrail, etc. The scaffold can be used, however, fall protection will be required and the tag may list other requirements.

      - Red Tag – Scaffold is incomplete / Do not use.

      - No Tag – Treat as Red Tagged.

    - All scaffolds must be inspected by a competent person at the beginning of each shift. Inspection should be noted on the tag.

    - Scaffold ladders more than 12 feet in height will require the use of a self-retractable lanyard or other fall protection method.

    - Scaffolds should be equipped with swing gates to permit access to platforms.

    - During scaffold erection, reconfiguration, or disassembly no user is allowed on the scaffold.

# Make-Shift Work Platforms

    - Employees are prohibited from working from buckets turned upside down, handrails, single plank platforms, gang-boxes, any defective ladder or scaffolding, or pallets.

# Excavations and Trenches

- Underground utilities must be located prior to digging.

- The competent person must inspect the excavation or trench each day, before entry, and after any change in conditions. The inspection must be documented.

- Excavations or trenches 4 feet deep and deeper shall have a means of egress (ladder or steps) stationed within 25 feet of workers

- Excavations 4 feet deep and deeper shall have an atmospheric test for oxygen, flammables, and potential toxins when the potential for these hazards exists.

- Excavations 5 feet deep and deeper shall have a protective system installed to prevent the entrapment of workers. Protective systems include sloping, shoring systems or shielding systems.

- Loose Debris: Spoil piles, loose rock and soil, tools, and other debris shall be kept at least two (2) feet back from excavation edges, secured or removed to prevent it from falling into excavation where it could cause injuries.

- Excavations or trenches 20 feet deep and deeper shall utilize a protective system designed by a registered professional engineer

- Workers are not permitted beneath a lifted load or equipment.

- Do not enter any excavation that does not appear to be sloped/shored/shielded properly or does not appear safe for any reason. Report these conditions to your supervisor immediately.

# Respiratory Protection

- Respiratory Protection Plan must be developed and implemented by the contractor if respirators are required due to an identified risk.

- Employees required to wear respiratory protection must be medically qualified, fit tested, trained in its use, care, storage, and inspection.

- If you have not been qualified to wear a respirator, do not wear one.

- Persons wearing a respirator must be clean shaven to ensure a good seal.

- Respirators must be maintained in a clean condition and stored in a clean location.

# Electrical Safety

NOTE: This is a SAFETY ESSENTIAL

- All electrical work must be done by qualified electrical workers evaluated and approved for the level of work to be performed.

- Electrical work must have established approach boundaries, PPE, and practices to protect Qualified Electrical Workers and unqualified workers.

- PPE must be selected based on an analysis of the level of shock and arc flash potential for the specific electrical equipment.

- Electrical workers who operate within the flash protection boundary (See NFPA 70E) must wear arc flash clothing and understand arc flash clothing requirements.

- All electrical lines and equipment are considered energized until verified otherwise.

- De-energize, use Lock Out Tag Out (LOTO), and verify a Zero Energy State for all work. If the system cannot be deenergized, a complete risk assessment must be completed, and appropriate controls identified. Work on energized systems is strongly discouraged cannot be conducted without the authorization of Siemens management and EHS.

- Ensure adjacent exposed conductors or circuits and equipment are also de-energized or have proper protective barriers.

- Use personal protective grounds / earthing or short circuiting to prevent back-feed and / or induced voltage unless otherwise approved.

- Ensure insulated electrical tools, equipment, and PPE are approved and tested on the frequencies required.

- All new installations, replacements or repairs of electrical equipment must be approved to meet the correct standards and methods.

- Inspect your portable power tools, cords and lighting and only use approved equipment, in good condition, with GFCI protection.

- Ground fault circuit interrupters (GFCI's) must be used on all power supplies.

- Employees must inspect all cords, leads and power tools before use. If the equipment is defective do not use the equipment and provide the item to your supervisor for repair.

- Extension cords must be placed so as not to be exposed to physical damage or pose a tripping hazard to other employees. Keep cords out of water, out of doorways, etc.

- Extension cords are not to be used to hoist equipment, or materials, or any other purpose than that for which the cords have been designed.

- Ensure insulated electrical tools, equipment, and PPE are approved and tested on the frequencies required.

- All new installations, replacements or repairs of electrical equipment must be approved to meet the correct standards and methods.

- Inspect your portable power tools, cords and lighting and only use approved equipment, in good condition, with GFCI protection.

# Ladders

- All ladders must be inspected prior to each use by the user and monthly by a competent inspector.

- Report any damage to your supervisor so the ladder can be taken out of service. Never use a damaged ladder.

- Portable ladders shall be used at such a pitch that the foot of the ladder is 1/4th of the working length of the ladder away from the wall etc. (for every 4’ of height, the ladder base must be 1 foot away from the wall).

- Portable ladders must be equipped with safety shoes, or braced to ensure it will not slip, and it must be tied off at the top and bottom when in use

- When portable ladders are used to access an upper landing surface, the side rails shall extend three feet (36”) above the landing surface.

- Metal / Aluminum ladders are prohibited

- Employees are prohibited from carrying anything in their hands while climbing a ladder. All tools or light materials not carried on employee’s person by belt or pouch or must be lifted and lowered by a hand line and not carried on the ladder.

- Two-piece extension ladders shall not be taken apart and used independently

- Employees shall not attempt to move a ladder while it is occupied.

- Employees must work facing the ladder with both feet on the rungs

- Never work from the top or top step of a stepladder.

- Never work from a folded stepladder.

- Stepladders must be fully open with the spreaders locked in the open position.

- Stepladders must be set up on a level surface

- The cross bracing on the rear section of stepladders shall not be used for climbing.

# Hand Tools

Inspect tools before use to make sure they are in proper operating condition. Damaged or defective tools should be given to your supervisor for further action or if the hand tool is your personal tool, it must be removed from the jobsite.

- Never use hand tools for something other than the intended use.

- Never use impact tools such as chisels, wedges, or drift pins with mushroomed heads.

- Never use wooden handled tools when the handle is loose, splintered, or cracked.

- Job-made tools are prohibited.

# Portable Power Tools

Power tools may be electric, battery operated, pneumatic, liquid fuel, or hydraulic.

- Inspect tools before use to make sure they are in proper operating condition. Damaged or defective tools shall be given to your supervisor for further action or if the power tool is your personal tool, it must be removed from the jobsite.

- Always read and follow the manufacturer's operating instructions and warnings.

- Power saws, circular saws, table saws, demo chop saws, grinders, and all other tools that are equipped with guards must always have the guard in place.

- Unplug electrical tools and disconnect air-powered tools before servicing, adjusting, repairing, or changing bits or blades.

- Never raise or lower tools by their cords/hoses - use a hand line.

- Keep cords and hoses out of walkways.

- Always make sure the RPM rating on blades and discs meets the requirements of the tool it is being used on (grinders, cutoff saws, etc.).

- Make sure adequate ventilation is being maintained.

- Gas Powered Demo / Cut off Saws - workers operating gas powered cut off saws (demo saws) must:

  - Understand how to use the tool

  - Have all the guards in place

  - Use the appropriate blade for the material being cut

  - Wear safety glasses and a full-face shield during operation of the saw

  - Wear hearing protection during operation of the saw

- Inspect your work area for any combustible or flammable materials, prior to beginning your work as sparks may be thrown from the saw depending upon material being cut.

# Hazardous Energy Control - Lock Out / Tag Out Note:

NOTE: This is a SAFETY ESSENTIAL

Employees servicing or maintaining machines or equipment may be exposed to serious physical harm or death if hazardous energy is not properly controlled. Lock out / tag out (LOTO) is the control of hazardous energy, including electrical, mechanical, thermal, hydraulic, pneumatic, or any other operation or equipment where personnel may be exposed to hazardous energy sources.

- Contractors must establish LOTO Program meeting the requirements of OSHA 29 CFR 1910.147 or, if applicable, state OSHA plan.

- Contractors shall develop equipment specific LOTO procedures and ensure their employees are fully trained in the procedures.

- Contractor shall provide and ensure all required LOTO devices such as locks and tags are ready.

- Never remove someone else’s lock or tag without following written instructions.

- Under no circumstances try to operate something that is locked/tagged out of service. Failure to follow this directive may result in disciplinary action.

- Potential energy sources must be disconnected and de-energized when working on any hazardous energy sources. Remember that some systems can be energized from more than one source.

- Always follow the established procedures for lock out tag out as established for each equipment

- Ensure adjacent exposed conductors or circuits and equipment are also de-energized or have proper protective barriers.

- De-energize equipment, lock any switches or valves, apply tag identifying its purpose and responsible contact, test using appropriate test equipment to ensure zero energy state.

# Cranes, Lifting, and Rigging

Note: This is a SAFETY ESSENTIAL

# General Requirements

    - Cranes and hoists used must have a valid periodic certification, monthly inspection, and a pre-use inspection.

    - Never modify a crane or hoist’s structure, operational, or safety equipment without approval of the

manufacturer.

    - You must have an adequate number of qualified personnel for all tasks associated with the lift.

    - Ensure your lifting team is qualified and has someone designated to direct the lift operation. Verify all operators, riggers (slingers) and signal people have the required knowledge and skills for their assigned duties.

    - All lifts require planning; the more complex the lift, the more planning required. Follow your plan, if something changes, stop and re-plan your lift.

    - During lifts establish and mark exclusion zones preventing access to non-lifting team members protecting them from pinch points, and overhead hazards due to the load.

    - Know the weight of your load, and the capacity of your lifting equipment based on the configuration of use. Never exceed rated load limits of cranes, hoists or rigging.

    - Rigging must pass periodic inspections by a Competent Person and a pre-use inspection by the rigger.

    - Protect your rigging by using softeners to protect it from damage due to friction or sharp edges.

    - Keep yourself and others from under a suspended load. Do not get between a suspended or moving

load or a crane’s structure and any fixed object.

    - Control your load using taglines to prevent load swing and to keep it stable.

    - Ensure you have clear communication. Use standard hand signals. Use 3-way communication when communicating signals verbally by repeating the message back and acknowledging the response is correct.

    - Do not free stuck/bound components using your crane. Free stuck/bound components using chain falls, come-a-longs, jacks, etc.

    - Any complex/critical lifting operation (e. g. any lifting using multiple cranes, lift over an occupied structure or public street, any load that is heavier than 75% of the rated capacity of the lifting equipment) need a pre-lifting plan approved by a Competent Person and by the responsible manager.

    - All rigging must be done by qualified Riggers

    - All rigging equipment and hardware must be inspected before each use by the user and monthly by a competent inspector. Following the monthly inspection, rigging equipment and hardware will be appropriately color coded.

    - Cranes may only be operated by trained and certified operators

    - Cranes must be inspected daily and certified annually. Crane Operators are responsible for daily inspection of their cranes and shall report any concerns immediately.

    - Operators must ensure that the swing radius of their crane is properly cleared.

    - Employees must not enter or pass through the swing radius.

    - Crane signal person must be qualified to provide signals.

    - Only one signal person may direct the operator at one time. Signal persons must be trained and qualified.

    - When lifting on outriggers, they must be fully deployed.

    - Outrigger mats must be used.

    - Ground conditions must be known to not exceed maximum ground loading.

    - Check for overhead obstructions, including power lines.

    - Special attention and minimum clearance distances must be adhered to when working in the vicinity of power lines.

    - Lifting area / lift path should be cleared by using barricades or other means.

    - Know the weight of the load

    - Know the lifting capacity of the crane and rigging components in the applicable scenarios

    - When rigging off an existing structure, ensure all load bearing members can carry the load and the rigging is secure.

    - Maximum capacity of all rigging components must never be exceeded

    - Suspended Loads: There shall be no walking, standing, or crawling under suspended loads of a crane, forklift, etc.

    - Never place hands on a load. Always use taglines.

# Chain Falls & Come-alongs

    - Must be inspected prior to each use

    - Must be labeled with lifting capacity

    - Do not exceed the lifting capacity

    - Do not use cheater bars on come-alongs

    - Do not tie hook back into the load chain

    - Hook must be inspected

    - Hook must have an operable safety latch

    - Do not tip load the hook

# Slings and rigging hardware

    - Visually inspected slings and rigging hardware before use and during operation.

    - Slings must be labeled with size, lifting capacity, etc.

    - A damaged or defective sling must be removed from service and not used.

    - Slings must not be shortened with knots or bolts or other makeshift devices, sling legs that have been kinked must not be used.

    - Slings must not be loaded beyond their rated capacity, according to the manufacturer's instructions.

    - Suspended loads must be kept clear of all obstructions, and crane operators should avoid sudden starts and stops when moving suspended loads.

    - Employees also must remain clear of loads about to be lifted and suspended.

    - All shock loading is prohibited.

    - Tag lines must be used to control loads.

    - Always use “softeners” when there is a potential to damage a sling.

# Motorized Equipment

Note: when moving motorized equipment into or out of a confined and congested area, a flagger/spotter must be used.

# Forklifts

    - Forklift operators must be trained and qualified to operate the equipment.

    - Never exceed the lifting capacity of the forklift.

    - Forklifts must be used in accordance with manufacturer’s operating instructions.

    - Seatbelt must be worn while operating the forklift.

    - The forklift must be inspected by the operator at the beginning of each shift and monthly.

    - Only the operator is allowed to ride on the forklift.

    - Never use a forklift to lift personnel.

    - Any attachment used with the forklift must be approved by the manufacturer.

    - Never modify or remove manufacturers installed equipment (does not include fork changes that do not affect the ability to safely operate the forklift) without written permission from the manufacturer to do so.

# Scissor Lifts

    - Only trained and authorized workers are allowed to use scissor lifts.

    - Scissor lifts must have guardrails installed to prevent workers from falling.

    - Only stand on the work platform; never stand on the guardrails or toe board.

    - Keep work within easy reach to avoid leaning away from the scissor lift. If work will require leaning outside of the platform, additional fall protection must be used.

    - Ensure scissor lifts are stable and will not tip over or collapse. Some safe work practices to ensure safe, stable conditions for scissor lift use include:

      - Follow the manufacturer’s instructions for safe movement—this usually rules out moving the lift in an elevated position.

      - Isolate the scissor lift or implement traffic control measures to ensure that other equipment, including overhead cranes, cannot contact the scissor lift.

      - Select work locations with firm, level surfaces away from hazards that can cause instability (e.g., drop offs, holes, slopes, bumps, ground obstructions, or debris).

    - Use the scissor lift outside only when weather conditions are acceptable per manufacturer guidance.

    - Never allow the weight on the work platform to exceed the manufacturer’s load rating.

    - Never allow equipment other than the scissor mechanism to be used to raise the work platform (e.g., using forklift to lift the work platform).

    - Positioning the scissor lift to avoid electrocution, arc flash, and thermal burns is important for safely using scissor lifts near energized power lines. Since electricity can arc or jump from the power line to the scissor lift or worker, electrocution can occur even if neither the scissor lift nor the worker touches the power line.

    - Contractor must ensure the lift is regularly maintained.

    - It is the responsibility of the Contractor and the Contractor Operator to be familiar with the

manufacture’s requirement regarding additional fall protection requirements.

    - It is the responsibility of the Contractor and the Contractor employees to follow the local site rule in relation to the use of additional fall protection in a scissor lift.

# Articulating Boom Aerial Lifts / Mobile Elevating Work Platforms (MEWP)

    - Aerial lift operators must be trained, qualified, and authorized to operate the lift

    - Aerial Lifts must be inspected daily. Inspections must be documented.

    - Aerial lifts must be operated in accordance with the manufacturer’s instructions.

    - Aerial lifts are not cranes and should not be used as such.

    - Never relocate an aerial lift using the ground controls.

    - Do not exceed the weight limit (capacity) of the lift.

    - When working from any rotating and/or elevating work platform, the workers feet must remain on the floor of the basket.

    - Employees working inside an elevating, rotating work platform must be tied off (100% fall protection) inside the basket to the designated anchor point continuously with a full body harness and a shock absorbing lanyard.

    - Lift gate or chain must be latched.

    - Do not attach lanyard to any objects outside the platform.

# Earthmoving Equipment

    - Operators shall be trained and qualified.

    - Pedestrians shall not be allowed within the immediate vicinity of active earthmoving equipment

    - Equipment will have audible alarms.

    - Equipment will be inspected daily and not operated if any safety-related equipment is damaged or inoperable.

    - Operators will wear seat belts, except where equipment is designed only for standup operation.

      - Equipment without seatbelts must have adequate fall prevention measures to prevent the operator from falling from the equipment.

    - All equipment will have adequate roll over protection.

    - All bidirectional machines, such as rollers, compacters, front-end loaders, bulldozers, and similar equipment, shall be equipped with a horn, distinguishable from the surrounding noise level, which shall be operated as needed when the machine is moving in either direction. The horn shall be maintained in an operative condition.

    - Contractor shall not permit earthmoving or compacting equipment which has an obstructed view to the rear to be used in reverse gear unless the equipment has in operation a reverse signal alarm distinguishable from the surrounding noise level or an employee signal that it is safe to do so.

    - No modifications or additions that affect the capacity or safe operations will be made without the manufacturer's written approval.

    - Scissor points on all front-end loaders, which constitute a hazard to the operator during normal operation, will be guarded.

# Fire Protection

- All fire extinguishers must be "ABC" extinguishers unless other specific firefighting media is required or prohibited.

- A fire extinguisher must be located near (within 25’) hot work activity.

- All motorized equipment must be equipped with a fire extinguisher.

- All fires and fire extinguisher usage must be reported to your supervisor and Siemens.

- Extinguishers posted throughout the site are not to be removed for task specific fire extinguisher use (ex: welding, gas cutting, etc.). Ask your supervisor to provide you an extinguisher for the task specific operation.

- It is the responsibility of the contractor to inquire about and follow local site-specific hot work permit and fire watch requirements.

# Potential Explosive Gas and Vapors

NOTE: This is a SAFETY ESSENTIAL

- Systems containing, or having contained an explosive, flammable or combustible material must have the following actions taken.

  - Must be assessed for risk by qualified or competent personnel and a plan created as to how the task can be done safely.

  - “Hot Work” (welding, cutting, etc.) on the system requires purging and inerting. All other maintenance or repair must have a determination if the system requires purging and inerting for the work to be done.

  - Purging and inerting activities require an instrument that does not require oxygen to measure the lower explosive limit (LEL) with a known correction factor and it must be used by a qualified operator.

  - Purging and inerting activities require exclusion zones prohibiting entry by personnel not part of the purge and inert team.

  - Tasks requiring an exclusion zone, shall exclude any materials that have the capability of creating a spark or ignition source and allow only explosion protected communication devices and tools inside the exclusion zone.

  - Minimize the number of employees participating in venting and purging activities to the extent possible and if feasible perform the activities during non-standard work hours.

  - Venting and purge activities require "Flame Resistant" (FR) apparel such as hoods, gloves, etc., with a rating based upon a risk assessment.

- When performing tasks that release potentially explosive gases or vapors all personnel must exit any exclusion zone or other areas before the lower explosive limit (LEL) has been reached.

- Temporary or permanent modifications to piping or other systems must be designed and approved by an engineer with this expertise.

- If combustible or explosive gas pressure is used to clean the piping (Gas Blow) personnel are not to enter the site, or must immediately exit the site, and not enter or re-enter until the gas blow activity has ceased for sufficient time to be deemed safe.

# Flammable and Combustible Liquids

- An approved safety can, with proper label, is required for gasoline and diesel storage.

  - A safety can is (29CFR1926.155(1) an approved, closed container, of not more than 5 gallons capacity, having a flash arresting screen, spring closing lid and spout cover and so designed that it will safely relieve internal pressure when subjected to fire exposure.

  - Plastic cans are prohibited

- Keep flammable items away from smoking, welding, burning operations or other sources of heat.

- Must be stored in an appropriate storage cabinet designed for the type of liquid.

# Compressed Gas Cylinders

- Cylinders must be stored upright and secured.

- When stored, oxygen must be stored separated from fuel gas by either a 20 feet distance or a five-foot wall with a 30-minute fire rating.

- Never expose cylinders to open flame or excessive heat.

- Torch assemblies must be equipped with flash back arrestors.

- Never bring cylinders into confined spaces.

- Blow out the cylinder valves before attaching the regulators.

- Release the adjusting screw before opening the cylinder valve.

- Do not stand in front of the regulator when opening the cylinder valve.

- Open the cylinder valve slowly.

- Do not compress acetylene gas above 15 PSI.

- Purge the oxygen and acetylene lines.

- Always light the acetylene before opening the oxygen line.

- Never use oil or grease around oxy-acetylene equipment.

- Never use oxygen as a substitute for compressed air.

- Keep heat, flames, and sparks away from combustibles.

# Welding and Cutting

- Hot Work is defined as any operation involving open flames or producing heat and/or sparks. This includes brazing, cutting, grinding, soldering, welding, etc.

- A hot work permit may be required prior to beginning work.

- Fire extinguisher (minimum 20# ABC) in service and available within 25’ of hot work location.

- Hot work equipment inspected and in good repair, location provided with sufficient ventilation.

- Do NOT allow any combustible materials to be brought into the 35-foot radius of the area where hot work is being performed.

- Ensure no exposed combustible materials on opposite sides of walls, ceilings, or floors.

- If there are combustibles within a 35 ft. radius of work and they cannot be removed:

  - If combustible floors: wet down or cover with fire-resistive sheets.

  - All wall and floor openings: cover with fire-resistive tarpaulins.

  - Use fire-resistive tarpaulins suspended beneath elevated work areas.

  - A trained and properly equipped fire watch must be present during the welding operation and for at least 30 minutes after hot work is completed.

- Working on enclosed equipment

  - Containers must be purged of flammable liquids/vapors, eliminate explosive atmosphere (verify with atmospheric testing).

  - Enclosed equipment cleaned of all combustibles.

  - Pressurized vessels, piping and equipment removed from service, isolated and ventilated.

- Welding machines must be grounded

- Welding machine terminals must be protected from contact by terminal covers

- Welding grounds must be located within close to the weld point.

- Sparks and hot slag must be contained and not allowed to enter other areas or fall to lower levels.

- Grinding requires safety glasses and face shield.

- Welding requires safety glasses and welding hood with appropriately shaded lens

- Cutting requires cutting goggles with appropriately shaded lens.

- Protect others from cutting, grinding, or welding operations by using blinds or shields.

# Confined Space

Note: This is a SAFETY ESSENTIAL

Confined spaces are often encountered in industrial settings. They are divided into two categories including confined space and permit-required confined space. The characteristics which make up each are as follows:

- Confined Space

  - Is large enough and so configured that an employee can bodily enter and perform assigned work; and

  - Has limited or restricted means for entry or exit (for example, tanks, vessels, silos, storage bins, hoppers, vaults, and pits are spaces that may have limited means of entry.); and

  - Is not designed for continuous employee occupancy.

- Permit-required Confined Space

  - Is large enough and so configured that an employee can bodily enter and perform assigned work; and

  - Has limited or restricted means for entry or exit (for example, tanks, vessels, silos, storage bins, hoppers, vaults, and pits are spaces that may have limited means of entry.); and

  - Is not designed for continuous employee occupancy; and

  - Contains or has a potential to contain a hazardous atmosphere; or

  - Contains a material that has the potential for engulfing an entrant; or

  - Has an internal configuration such that an entrant could be trapped or asphyxiated by inwardly converging walls or by a floor which slopes downward and tapers to a smaller cross-section; or

  - Contains any other recognized serious safety or health hazard.

- If the workplace contains permit spaces, the contractor shall inform exposed employees, by posting danger signs or by any other equally effective means, of the existence and location of and the danger posed by the permit spaces.

  - A sign reading DANGER -- PERMIT-REQUIRED CONFINED SPACE, DO NOT ENTER or using other similar language would satisfy the requirement for a sign.

- If employees will be required to enter a permit required confined space, the Permit-required Confined Space Program will be followed.

- Elements of the program include, but are not limited to:

  - Entrants must receive instruct in the procedures to be followed for safe entry

  - Atmospheric testing must be performed

  - A trained entry attendant must be assigned

  - Ventilation must be utilized

  - A permit-require confined space permit must be issued

  - Rescue methods must be established

  - Do not enter a permit-required confined space unless you have been trained and authorized to do so.

# Manual Lifting

Plan before you lift - Consider the following:

- Weight

- Size

- Shape

- Path of Travel

- Bend/flex your knees, lift with your legs, and keep your feet pointed at the load.

- Avoid twisting

- Never lift any object weighing 50 lbs. or more without assistance. Use mechanical lifting devices when necessary.

Ask someone for help. Do not attempt to lift beyond your strength; if the load is too heavy or awkward ask for help.

# Barricades and Signs

- Throughout the life of the job, it may become necessary to barricade areas due to excavations, swing radius of cranes, overhead hazards etc. Any area that is barricaded must be avoided.

- Red “Danger” Barricade tape is used when there is a potentially life-threatening situation and shall not be crossed without permission from the owner of the barricade.

- Yellow “Caution” Barricade tape is used in areas where a non-life-threatening hazard exists.

- Any area that has signs indicating specific hazards, the sign and its instruction must be adhered to.

- If you have placed the barricades or warning signs, upon completion of the task remove any warning signs / danger signs.

- Barricade below overhead work, such as steel erection, crane lifts, building or modifying scaffolds, etc.

- All “Danger” Barricades must include barricade contact person and number.

- Magenta Barricade tape indicates radioactive materials are present within the confines of the barricade.

- Contractors must observe and obey all safety signs posted in the workplace.

- Contractors must post appropriate signage to warn others of hazardous work being performed.

- Contractor shall erect barricades as appropriate to keep people, equipment, or vehicles from entering an area where hazards may exist.

# Housekeeping

- Every person on the project is responsible for housekeeping.

- Keep everything in its proper place

- Work areas must be kept clear and free of obstructions by material/debris

- Put scrap, trash, and other waste in the right containers, especially flammables

- Do not bring glass containers on the jobsite

- Clean up tools and work area as your job progresses

- Keep all material, tools, and equipment in a stable position to prevent rolling or falling

- Maintain clear access to all work areas

- Cords, hoses, welding leads, etc. must be run at least 7’ overhead to prevent tripping hazards. If they cannot be run overhead, they must be kept out of the walkway.

- If cords, hoses, or welding leads must cross a walkway, they must be laid in an organized manner and pedestrian crossovers provided.

# Waste Management

- Contractors are responsible for the collection, management, and disposal of all waste generated from their work.

- Contractors must maintain waste in appropriate containers and ensure that waste is regularly removed from site.

# Hazard Communication

- The Hazard Communication Standard (commonly referred to as "Right-to Know") was implemented to require manufacturers, distributors, and users to inform their employees of the hazardous nature of chemicals and how to protect you from the potential exposure.

- Contractor must train their workers as required by the OSHA Hazard Communication Standard

- Contractor must maintain a list of chemicals used on the work site and safety data sheets for each chemical.

- Chemical lists and SDSs for all chemicals brought on site must be readily available and provide to Siemens immediately if requested.

- Workers must be trained in the proper use of the chemical, protective measures, disposal, etc.

- Contractors are prohibited from bringing any hazardous chemicals on site unless authorized by Siemens.

# Storm Water Pollution Prevention

- Discharging waste into storm drains, in drainage areas, or on the ground is prohibited.

- Contractors must collect any waste generated in their operations, remove the waste from site, and manage the proper disposal.

# Job Safety Analysis

A Job Safety Analysis (JSA) is a systematic process used to assess specific job tasks. Its primary goal is to identify, evaluate, and control potential hazards associated with these tasks.

The contractors shall develop a JSA for any high-risk activity (see Safety Essentials) their employees will perform. The JSA must contain a description of the high-risk activity, identification of risks likely to be encountered, and the required controls or mitigations that will be used by workers to ensure safety. Workers must be trained in all aspects of the JSA and required controls prior to completing the task.

Contractor shall make JSA available to Siemens immediately upon request.

# Pre-Task Risk Assessments

Immediately prior to performing any task, the contractor supervisor and workers shall conduct a pre-task risk assessment.

- The assessment shall involve all workers and include the following:

  - If a high-risk task, review the Job Safety Analysis.

  - Fully discuss the task to be completed.

  - Identify all risks or hazards associated with each step of the task.

  - Identify all actions which will be used to control or eliminate each of these hazards

  - All risks or hazards must be either controlled or eliminated prior to beginning work.

# Safety Meetings and Training

- Contractor workers must be trained, qualified, and competent to perform the tasks for which they are assigned.

- Training records must be always accessible and available.

- Contractor is responsible for holding daily/start of shift toolbox meetings with employees to ensure workers are informed of the day’s tasks, instructed on appropriate EHS measures, and to ensure workers are fully prepared and equipped to perform the tasks.

- A critical element to all meetings and trainings will address Worker Well-Being:

- Every meeting should remind workers:

  - They are authorized and responsible for stopping work if any uncontrolled hazards are identified which create an unacceptable risk level.

  - They do not understand the task, potential hazards, or required EHS protective measures, they must ask for guidance before proceeding.

# Railroads: Working On or Near Tracks

Note: This is a SAFETY ESSENTIAL

- Any person working on or near railroad tracks (within 25 feet of the outer rail) must be trained in the safety measures to be followed.

- The use of mobile phones within the 25’ of the centerline of the track is forbidden.

- If it is necessary to use a mobile phone alongside or on a track, the person must move to a safety zone/safe place outside the danger zone.

- Earphones are in active track environment.

- When walking to the worksite/area, always look in both directions before crossing track (railway lines) and only cross at designated and approved access points/routes. This applies even when the track is under “occupation” and construction trains and track machines are working.

- Under no circumstances is anybody allowed to sit or stand on the railway line.

- Always be alert when entering a rail corridor (Machines make a lot of noise. A train may be approaching, and the noise from the machine may prevent you from hearing it or the warning given).

- A formal risk assessment and method statement for working in the track environment must be available, and the required controls must be implemented with Last Minute Risk Assessment (LMRA). Risk assessments including safety measures for active tracks, third rail, and energizing areas of track must be covered.

- Communication protocol must be defined and known by all workers.

- Communication procedure must include:

  - the type of audible warning and communication devices (i.e., flags/hand signals/whistles/hailers etc.) to be used as well as

  - communication protocol with the Train Control Center.

- The risk assessment must be discussed and communicated to all workers before the commencement of work.

- Define and communicate work area boundaries to restrict movement of persons and work activities outside approved work parameters defined in the permit to work or occupation notices.

- For tracks on which rail traffic is temporarily restricted, physical visual warning (e.g., flag, barrier) must be placed on the track at an appropriate distance from worksite. When reasonably practicable, the worksite must be physically separated (fencing, barriers, etc.) from any adjacent tracks that are open for rail traffic.

- For any track open to rail traffic, a safety control measure, like a lookout person or Automatic Track Warning System, must be implemented. Lookout person must be equipped with the necessary equipment (horn, flags, etc.) and a clear understanding by all involved of authority and responsibility to follow the direction given.

- The lookout person must be dedicated to observing approaching trains and warning workers (visually and audibly) on the track to move to a "Place of Safety" until the track is clear to ensure the protection for people and machinery on or near the railway track.

- Any instruction given by Lookout Person must be acted upon immediately.

- Ensure that an approved permit to work is in place and that the lockout and isolation procedures are implemented and communicated to all persons involved in the task.

- Avoid wearing loose clothing and carrying long objects (e.g., umbrella, poles, etc.) while on track.

- Emergency and rescue plans must be defined, and employers must be trained before start.

- All work in the Federal Railroad Administration (FRA) Red Zone (within 4 feet from outside of the rail on each side of the track) will be done only with FRA qualified flagman or watchman.

- All work beyond 4 feet from the outside rails and within 25 feet must be done under the supervision of a qualified person.

- Certain types of work done beyond 25 feet from the outside of the rails, and with equipment that will not reach beyond this point, may be done without flagging protection or a watchman.

- All work must be stopped while trains are passing within the work zone.

- All workers will remain off the tracks. If necessary to perform the work on track, protection will be provided as stated above.

- All workers must comply with federal, state, and local laws and regulations, including but not limited to those of the Occupational Safety and Health Administration (OSHA), the Federal Railroad Administration (FRA), and any applicable State Railroad Commissions.

# Driver and Vehicle Safety

NOTE: This is a SAFETY ESSENTIAL

- Never operate a vehicle under the influence drugs or alcohol.

- You must possess a valid driver’s license for the type of vehicle

- Distracted driving is dangerous. Distractions such as eating, drinking, adjusting a radio or GPS device, etc., must be limited. Handheld mobile phone use for communication is not permitted and it is highly recommended not to use hands-free devices while driving.

- To prevent fatigue and drowsiness take adequate length of breaks regularly; at least once in every 2 hours.

- Comply with traffic regulations and speed limits; maintain adequate following distance, and adjust for changes in traffic, road, and weather conditions; in addition, always watch closely for of pedestrians, animals, and other vehicles.

- Fasten your seat belt before driving begins and leave fastened until driving is complete.

- Inspect vehicles prior to use to ensure that vehicles are within safe operating conditions such as for inflation and profile of tires, clean windows, lights in working order, mirrors and headrest properly adjusted etc., and only operate a vehicle that passes inspection.

- Ensure the number of passengers and any loads being transported are within limits, and properly secured to not exceed vehicle specifications.

# Machine Guarding Signage and Safety Interlocks

NOTE: This is a SAFETY ESSENTIAL

- When performing maintenance or repair on a machine you must use LOTO.

- Ensure the safety interlocks function correctly.

- Never purposely bypass or override a safety interlock.

- Never enter past perimeter barrier guarding of an operating machine tool without permission from the operator and it is safe to do so.

- Never operate, repair, or modify a machine without proper authorization and ensure the machine is regularly inspected and tested as required by a competent person to ensure it continues to meet the correct safety requirements.

- Do not remove, deface, or displace any safety signage related to the machine.

- All machines must have a risk assessment for guarding and safety interlocks by a qualified person.

- To operate a machine, you must be trained and designated as a competent operator for that type of tool.

- Do not wear loose clothing, keep long hair tied back, and remove loose jewelry, ID Badges, rings, and bracelets before you operate a machine

- Check to ensure all fixed, adjustable, and movable guards are in the correct position before starting work with a machine.

- Use machines only for their intended purpose in the manner they were designed to be used.

- Never leave your machine running unattended, unless designed for it.

- Never touch rotating or moving equipment or parts and always keep hands at a safe distance.

# Emergency Planning

- Contractors shall develop an emergency action plan for their workers in coordination with the site emergency action plan.

- Contractor workers must be trained in procedures in the event of an emergency, such as fires or serious injuries, including how to summon emergency services.

- Contractor must immediately notify Siemens management of any onsite emergency.

- Contractors shall ensure they have access to emergency contact information for key personnel, such as project managers, safety officers, and local emergency services.

- Contractors shall maintain clear communication channels with the main contractor or project manager regarding any potential hazards or risks identified during your work.

- Contractors shall cooperate with other contractors and project stakeholders to coordinate emergency response efforts effectively.

- Contractors shall keep your work area organized and free from obstructions to facilitate safe evacuation procedures in case of an emergency.

- Contractors shall report any safety concerns or incidents promptly to Siemens and follow established reporting protocols.

- Contractors shall familiarize themselves and their workers with the location of emergency exits, evacuation routes, and assembly points specific to their work area.

- Contractors shall (if applicable to the scope of work) follow established procedures for shutting down equipment or operations safely during emergencies to minimize risks to personnel and property.

- Contractors shall continuously review and update their own emergency response procedures in alignment with project requirements and industry best practices.

# Spill Prevention, Control, and Countermeasures (SPCC)

- Contractors shall understand the project's Spill Prevention, Control, and Countermeasures (SPCC) plan and their specific responsibilities outlined within it.

- Contractors shall (when asked) participate in SPCC training sessions provided by the project manager or main contractor to ensure they are familiar with spill prevention measures and response procedures.

- Contractors shall identify potential sources of spills within their work area and implement appropriate containment measures to prevent accidental releases of hazardous materials.

- Contractors shall regularly inspect storage containers, equipment, and facilities for signs of leaks, deterioration, or other potential hazards that could lead to spills.

- Contractors shall ensure proper labeling and storage of hazardous materials in accordance with SPCC requirements and regulatory standards.

- Contractors shall (if required) maintain spill response equipment, such as absorbents, booms, and spill kits, in good condition and readily accessible in case of emergencies.

- Contractors shall immediately report any spills or suspected leaks to the project manager, safety person, or designated personnel, and follow established procedures for containment and cleanup.

- Contractors shall cooperate with other contractors and project stakeholders during spill response efforts to minimize environmental damage and ensure a swift and effective resolution.

- Contractors shall document all spill incidents, including the cause, response actions taken, and any follow-up measures implemented to prevent recurrence.